## Slide 1
ECG Cross-Dataset Generalization Benchmark
A unified workflow for harmonizing five clinical ECG datasets, training four model families, and measuring transfer across institutions
1
Five clinical ECG datasets
PTB-XL
21,799 · Germany
MIMIC-IV-ECG
50,000 sample · USA
CPSC2018
6,877 · China
Georgia 12-Lead
10,344 · USA
CODE-15%
50,000 sample · Brazil
Each dataset keeps its original patient population, device characteristics, and label vocabulary.
2
Harmonize signals and labels
Raw 12-lead ECG
standardize
10 s
500 Hz
5,000
samples
Canonical lead order · consistent scaling · patient-safe 80/10/10 split
Normal
AF/AFL
1° AVB
LBBB
RBBB
Dataset-specific diagnoses are mapped into one precision-first five-label schema.
3
Four model families
InceptionTime
trained from scratch
ResNet1D
trained from scratch
ATTN
Transformer
vanilla baseline
FROZEN
ECG-FM
frozen backbone + adapter
Five source-specific checkpoints per architecture
Validation-AUROC early stopping · epoch checkpoints
4
5 × 5 source-to-target evaluation
P
M
C
G
K
P
M
C
G
K
ID
ID
ID
ID
ID
TRAINING SOURCE
EVALUATION TARGET
Per architecture
5 source models
× 5 target datasets
= 25 evaluations
Across four models:
100 evaluation cells
5
Attribute dataset shift
PS
Population
shift
DS
Device / domain
shift
LS
Label-schema
shift
5-class
2-class
Normal vs abnormal ablation estimates the fixable, label-driven portion of the gap.
6
Quantify performance
ROC
Macro-AUROC
Per-class AUROC
Δij and composite Score
95% bootstrap CI
The diagonal measures in-distribution performance; off-diagonal cells measure external generalization.
Notes: [Sources]
- User-provided workflow screenshots (visual direction only).
- Seo J et al., Scientific Reports 2021: https://www.nature.com/articles/s41598-021-97308-1
- Ribeiro AH et al., Nature Communications 2020: https://www.nature.com/articles/s41467-020-15432-4
- ECG-FM workflow reference, JAMIA Open: https://academic.oup.com/jamiaopen/article/8/5/ooaf122/8287827